## Slide 1
PROPOSAL · NEW USE CASE EXPLORATION
Vehicle-to-Grid on India's
Digital Energy Infrastructure
A proposal to evaluate whether India Energy Stack's open digital layer can
coordinate EV/DER flexibility — before committing to a build
Prepared for: Team Review | Direction & Scope Sign-off
Notes: Opening framing: this is a proposal to evaluate an idea, not a report on something already built. Emphasis word is 'whether' -- we are proposing an experiment, not asserting a conclusion. Keep the tone exploratory and evidence-seeking throughout.

## Slide 2
AGENDA
What we'll cover
01 · The Opportunity — why V2G, why now
02 · The Global Idea — Digital Energy Grid's own framing
03 · India's Real Program — where IES already stands
04 · The Market Opening — where the value actually sits
05 · Our Proposed Focus — the specific gap and the architecture
06 · Plan, Ask & Risks — how we'd test it, honestly
Agenda
2
Notes: Six sections, same shape as our last proposal deck. Read the section titles, don't over-explain yet -- this is just the map.

## Slide 3
01 · THE OPPORTUNITY
Grid flexibility is becoming a real, funded problem
Electric vehicle batteries are a genuinely large, mostly idle energy resource
Real regulation, real deadline
EU's AFIR regulation mandates bidirectional-capable (ISO 15118-20) charging infrastructure for all new/refurbished public and private chargers from 1 January 2027 — not speculative.
Real pilots, already running
China: 30 pilots across 9 cities (2025). Netherlands: 500 bidirectional vehicles in Utrecht, graduated from pilot to fully commercial service. US: Maryland's first V2G interconnection rules plus a real residential pilot with Ford F-150 Lightning trucks.
Real, quantified value gap
A GM-commissioned study (E3) found V2G could deliver 5–15x more value per vehicle than one-way managed charging — roughly $7B of potential value in the US alone by 2030 — currently gated by regulatory/tariff barriers, not technology.
Section 01 — The Opportunity
3
Notes: Every claim here is independently sourced -- EU AFIR mandate, the China/Netherlands/US pilots, and the GM/E3 value study. If challenged on any number, these are the sources to cite. The point of this slide: this isn't a hypothetical trend, it's already funded and regulated.

## Slide 4
01 · THE OPPORTUNITY
The real blocker isn't hardware — it's fragmentation
Without a shared coordination layer, every utility-vendor-aggregator pair needs its own custom integration
Today, without a common layer:
—
Utility A builds a private integration with Charger Vendor X
—
Utility B builds a completely different one with the same vendor
—
An aggregator wanting to work with both utilities maintains two incompatible systems, forever
—
This is the same n×n integration problem UPI solved for banks, and ONDC is solving for commerce
Section 01 — The Opportunity
4
Notes: This is the framing slide -- make sure the team understands we're not proposing to solve a hardware problem, we're proposing to test a coordination problem, the same category UPI and ONDC solved.

## Slide 5
01 · THE OPPORTUNITY
Seeing it in one picture
Two architectures for the same V2G transaction
TODAY — POINT-TO-POINT INTEGRATIONS
Utility ↔ Aggregator: custom API
Aggregator ↔ Charger Vendor: custom API
New provider joins: rebuild both links
PROPOSED — SHARED DISCOVERY LAYER
Utility publishes a flex need, once
Any registered aggregator can discover it
New provider joins: one registration, done
Same underlying transaction. One approach doesn't scale past a handful of pairs; the other scales by design.
Section 01 — The Opportunity
5
Notes: Directly mirrors the tariff-PDF comparison slide from our last deck. Keep the delivery simple: point at the red column, then the green column, let the picture make the argument.

## Slide 6
02 · THE GLOBAL IDEA
Digital Energy Grid (DEG)
A Feb 2025 vision paper by FIDE (the nonprofit behind India's Aadhaar/UPI/ONDC lineage) and the
IEA, proposing three shared digital layers for the global energy sector:
Universal Identity
Every asset — including EVs — gets a verifiable digital identity
Machine-Readable Data
Flexibility, capacity and consent expressed as structured data, not PDFs or phone calls
Verifiability
Every transaction cryptographically signed and independently checkable
DEG's own vision paper names "Vehicle-to-Grid Networks" explicitly as one of its illustrative future use cases.
Section 02 — The Global Idea
6
Notes: Keep this brief -- the team likely already has context from the last deck. The one new fact to land: DEG's own paper names V2G by name as an illustrative use case, so this isn't us inventing a connection.

## Slide 7
03 · INDIA'S REAL PROGRAM
India Energy Stack (IES)
Ministry of Power's execution of DEG's idea, run via REC Limited and FSR Global
Real, live sandbox network — four pilot DISCOMs already built and demonstrated real use cases on it
Built on Beckn Protocol — the same open transaction protocol (identity, discovery, contracting, settlement) across every use case
A dedicated network already exists for this exact category: the DER integration network — described explicitly for "rooftop solar, BESS, EV integration with DISCOMs"
Section 03 — India's Real Program
7
Notes: Establish that IES is real, live, and already has a category built for exactly this -- the DER integration network. This is the single most important fact for credibility: we're not proposing to invent a new government network, one already exists for this.

## Slide 8
03 · INDIA'S REAL PROGRAM
The building blocks already exist
Three real, independently-published schemas cover exactly what a V2G transaction needs
EnergyResourceEVCharger
Describes a bidirectional charger — max import/export rate, connector type, and the exact real protocol it speaks (ISO 15118-20).
EnergyProgramEnrollment
The consent mechanism — an owner formally authorising an aggregator to control their device, using W3C Verifiable Credentials.
Demand Flexibility settlement
A utility posts a flexibility need, an aggregator commits capacity, and automated policy logic pays out based on metered performance.
Section 03 — India's Real Program
8
Notes: This slide is the technical credibility anchor. Each of these three schemas is real, versioned, and already published -- we're proposing to connect them, not invent them.

## Slide 9
04 · THE MARKET OPENING
Where the value actually is
Available today: V1G (smart charging)
Real, quoted per-vehicle annual value: ~$100/yr in lower-value US regions up to ~$400/yr in high-value markets (MISO, New England, ERCOT) — from managed charging alone, no discharge required.
Coming: V2G (bidirectional)
5–15x more value per vehicle than V1G — but currently gated by regulatory and tariff-export barriers, not by technology. The gap closes as regulation like AFIR takes effect.
The software/aggregation layer sitting on top of V1G is already a real, separate, faster-forming market — estimated at $1.2B (2024) growing to $8.9B by 2033.
Section 04 — The Market Opening
9
Notes: The honest framing here: the near-term money is in V1G/aggregation software, V2G is the larger but slower-forming opportunity. Don't oversell V2G revenue as immediate.

## Slide 10
05 · OUR PROPOSED FOCUS
The gap: real pieces, never connected
Verified directly against the published specification source, not assumed
The three building blocks from Slide 8 are each real and well-designed. But nobody has ever published a working example of them composed together — an EV_V2G charger enrolled with real owner consent, participating in a real settled flexibility event.
—
The bidirectional-charger type ("EV_V2G") is never used in a single real example message anywhere in the published devkit
—
The consent mechanism has exactly one real example — and in that one case, consent is explicitly declined, never granted
—
The consumer-onboarding guide gives every other user type a full worked narrative — the EV/V2G case is one sentence, with no message flow
Section 05 — Our Proposed Focus
10
Notes: This is the precise, defensible technical claim -- not 'V2G doesn't exist on IES', but this specific, verifiable, narrower gap. If pressed on how we know this, the answer is: direct inspection of the published schema examples, not assumption.

## Slide 11
05 · OUR PROPOSED FOCUS
The actual data shape we'd build against
EnergyResourceEVCharger — the real, current schema
{
"type": "EV_V2G",
"attributes": {
"maxImport": { "value": 7.4, "unit": "kW" },
"maxExport": { "value": 3.7, "unit": "kW" },
"connectorType": "Type2",
"controlProtocol": "ISO_15118_20",
"v2xProtocol": "ISO_15118_20_AC_BPT"
}
}
This is the unmodified, published schema — we are not proposing any change to it, only a working example that uses it.
Section 05 — Our Proposed Focus
11
Notes: Real field names, real values -- this exact object exists in the published spec today. Emphasize the last line: we touch nothing here, we only compose it with the other two pieces.

## Slide 12
05 · OUR PROPOSED FOCUS
How the pilot would flow
Three real, independently-published mechanisms, composed for the first time
1. Author
A real EV_V2G charger object — capacity, protocol, consent status
2. Enrol
Owner grants real consent via the existing enrolment mechanism
3. Commit
Aggregator offers the enrolled charger's capacity to a utility's flex request
4. Settle
Real settlement logic runs — proving the composition pays out correctly
Every step reuses an existing, unmodified mechanism — the pilot proves the connection, not new infrastructure.
Section 05 — Our Proposed Focus
12
Notes: Walk left to right. Each box is a real, already-published mechanism -- the pilot's job is proving step 1 through 4 actually chain together, which nobody has shown yet.

## Slide 13
05 · OUR PROPOSED FOCUS
Three separate conversations, kept clearly separate
A common source of confusion worth resolving upfront
A
Business layer — IES / Beckn
Discovery, contracting, settlement between utility and aggregator
B
Vehicle layer — ISO 15118-20
How a specific car and a specific charger actually negotiate and execute power transfer
C
Backend layer — OCPP
How the charger reports its status to a management system
Our proposed pilot scope is Layer A only. Layers B and C are mature, open, pre-existing standards — a real open-source reference implementation (RISE-V2G) already exists for Layer B.
Section 05 — Our Proposed Focus
13
Notes: This slide heads off a likely confusion in the room: are we building V2G hardware? No -- Layers B and C are solved, mature, open standards. We are scoping the pilot to Layer A only.

## Slide 14
05 · OUR PROPOSED FOCUS
Proposed proof-of-concept architecture
A fully controlled, self-contained demonstration — no dependency on external parties
Grid / Utility
(simulated)
Aggregator
(BAP)
V2G Provider
(BPP)
Simulated EV
(software)
Grid signal → discover/select/confirm over IES/Beckn → real settlement → simulated physical response
The digital layer never carries physical electricity — it carries the contract and the verified consent that would lead to it. This is the correct, standard way this class of pilot is demonstrated before physical hardware is involved.
Section 05 — Our Proposed Focus
14
Notes: Explain explicitly: the EV is software in this phase, deliberately -- we are testing digital coordination, not building a charger. This is a standard, legitimate way to de-risk before any hardware commitment.

## Slide 15
05 · OUR PROPOSED FOCUS
The question we're actually asking
Not:
“IES is great, let's connect it to V2G.”
But:
“Does composing IES's open layer with a V2G asset provide a measurable advantage over a conventional, point-to-point integration — or does it not?”
A pilot that answers this honestly is a valid result whichever way it comes out — and is far more credible than starting from the assumed conclusion.
Section 05 — Our Proposed Focus
15
Notes: This slide is important for credibility if anyone probes our motives. We commit, on the record, to measuring the comparison honestly rather than assuming the open-layer approach wins.

## Slide 16
06 · PLAN, ASK & RISKS
Proposed technical approach
A staged, de-risked sequence — each stage independently verifiable
Stage 1
Prove basic participation
A minimal, real network handshake — before touching any V2G-specific content
Stage 2
Build the simulated EV
Author a real EV_V2G object and carry it through real consent enrolment
Stage 3
Prove the settlement
Run the enrolled resource through a real flexibility commitment and settlement
Stage 4
Compare honestly
Measure the open-layer approach against a conventional integration, on real criteria
Section 06 — Plan, Ask & Risks
16
Notes: Each stage is independently checkable -- if stage 1 fails, we stop there rather than build on an unproven foundation. This staged structure is the actual technical plan, deliberately conservative.

## Slide 17
06 · PLAN, ASK & RISKS
Proposed roadmap
Weeks 1-2
Foundation
Register a test identity, study the target schemas and real network mechanics in depth
Weeks 3-4
Build & Compose
Author the EV_V2G object, carry it through enrolment, connect it to settlement
Weeks 5-6
Validate
Run the full composition against the real sandbox; test the specific open technical question (does settlement handle true bidirectional delivery correctly)
Week 7+
Compare & Report
Run the honest Architecture A/B comparison; package findings for the team and, if warranted, for public contribution
Section 06 — Plan, Ask & Risks
17
Notes: Same shape as our previous roadmap slide. Emphasize the gates -- we don't proceed to week 3 unless week 1-2 genuinely proves basic participation works.

## Slide 18
06 · PLAN, ASK & RISKS
What we're asking for
—
Approval to run a bounded, ~7-week technical evaluation
—
1-2 engineers, part-time, for the duration
—
Minimal infrastructure spend (a small cloud environment for testing)
—
A go/no-go review at the Week-4 checkpoint before any further commitment
Section 06 — Plan, Ask & Risks
18
Notes: Keep the ask small and bounded, matching the same low-commitment shape as our previous proposal's ask.

## Slide 19
06 · PLAN, ASK & RISKS
Risks — addressed honestly
The comparison might not favour the open-layer approach
That's a legitimate, useful result — we commit to reporting it either way, per Slide 15.
V2G's real-world commercial value is still gated by regulation
Correct, and explicitly why the pilot targets the digital coordination question, not a revenue claim.
This is exploratory, not a committed product build
By design — the whole point of Stage 1-4 is to answer the question cheaply before any larger commitment.
Section 06 — Plan, Ask & Risks
19
Notes: Get ahead of the three most likely pushback questions. Deliver this slide slowly -- it's the credibility slide.

## Slide 20
THE ASK
Approve a 7-week technical evaluation
—
Approve 1-2 engineers, part-time, for the evaluation
—
Approve minimal infrastructure spend
—
Review outcome at the Week-4 checkpoint before any further commitment
—
If successful: decide next steps together — pilot expansion, or public contribution
Low cost. Low commitment. A real, checkable technical answer either way.
Notes: Closing slide. End here -- pause for questions before moving into the appendix if the team wants technical depth.

## Slide 21
APPENDIX
Technical reference material
Field reference, message flow, protocol glossary, and sources — for anyone who wants to go deeper.
Appendix
21
Notes: Divider slide -- only go here if the team asks for more technical depth.

## Slide 22
APPENDIX
EnergyResourceEVCharger — full field reference
Field
Type
Meaning
type
EV_CHARGER | EV_V2G
Discriminator — whether this is one-way or bidirectional
maxImport
QuantitativeValue
Maximum charge rate (kW)
maxExport
QuantitativeValue
Maximum V2G discharge rate — EV_V2G only (kW)
connectorType
enum
Type1, Type2, CCS1, CCS2, CHAdeMO, GB_T, NACS
controlProtocol
enum
Includes ISO_15118_20 — the real bidirectional standard
v2xProtocol
enum
ISO_15118_20_AC_BPT, ISO_15118_20_DC_BPT, CCS_BPT, CHAdeMO_V2G
Appendix — Technical Reference
22
Notes: Real field names from the published schema -- have this ready if someone asks 'show me the actual data'.

## Slide 23
APPENDIX
Message flow — the protocol actions
discover
Aggregator (BAP) looks up who is publishing matching flexibility opportunities
select / init
Aggregator and utility agree the terms — capacity, price, window
confirm
The contract is activated
status
Delivered flexibility is measured and settlement is computed automatically
BAP = Beckn App Platform (requester side). BPP = Beckn Provider Platform (publisher side). Every step is cryptographically signed; the reference adapter (ONIX) validates schema conformance at each hop.
Appendix — Technical Reference
23
Notes: Same message-flow diagram convention as our last deck's appendix.

## Slide 24
APPENDIX
Glossary
V2G
Vehicle-to-Grid — a parked EV's battery sending power back during grid stress
DER
Distributed Energy Resource — any small-scale asset (solar, battery, EV) that can contribute flexibility
BAP / BPP
Beckn App/Provider Platform — requester and publisher roles in a Beckn transaction
ISO 15118-20
The real, open standard for how an EV and charger negotiate bidirectional power transfer
OCPP
Open Charge Point Protocol — how a charger reports to its management backend
OpenADR
The established demand-response signalling standard grid operators already use
Appendix — Technical Reference
24
Notes: Reference slide -- use if terminology questions come up mid-presentation.

## Slide 25
APPENDIX
References & further reading
—
FIDE & IEA — Digital Energy Grid Vision Paper (Feb 2025)
—
India Energy Stack — official documentation and accelerator repository
—
beckn/DEG — the reference specification and devkit repository
—
EU AFIR — Alternative Fuels Infrastructure Regulation, bidirectional charging mandate
—
E3 / GM — V2G value study (US market)
—
RISE-V2G — open-source ISO 15118 reference implementation
Appendix — Technical Reference
25
Notes: Curated sources -- available if anyone wants to verify a claim independently.